## PowerAndLight
Level | Location | Type | Sub Type | Number Of | Notes | Detail | Connects to
GF | Entrance | Power | Double Wall Socket | 1 |  | 35mm Recess | C1.R3
GF | Entrance | Light | Pendant | 1 |  |  | C2.U1.R1 | NO LIGHT SWITCHES (ALL CONTROLLED BY RELAYS)
GF | Entrance External | Light | Updown Light Wall Mounted | 1 |  |  | C2.U1.R2
GF | Closet | Power | Double Wall Socket | 1 |  |  | C1.R3
GF | Closet | Light | Pendant | 1 |  |  | C2.U1.R3
GF | W.C | Light | Pendant | 1 |  |  | C2.U1.R4
GF | Kids Room | Power | Double Wall Socket | 9 | Includes 2 spurs to Truss power |  | C1.R3
GF | Kids Room | Light | 5A Lamp Socket | 1 | In Floor recess |  | C2.U1.R5
GF | Kids Room | Power | Floor Socket | 1 | Dual Socket in Floor recess |  | C1.R3
GF | Kids Room | Light | Pendant | 1 |  |  | C2.U1.R6
GF | Kids Room | Light | Pendant | 1 |  |  | C2.U1.R7
GF | Kids Room | Light | Wall wash Uplighters | 2 | Not decided exactly which models to use here |  | C2.U1.R8
GF | Kids Room | Light | Wall wash Uplighters | 2 | Not decided exactly which models to use here |  | C2.U1.R9
GF | Kids Room | Light | 5A Lamp Socket | 1 |  |  | C2.U1.R10
GF | Kids Room | Light | 5A Lamp Socket | 1 |  |  | C2.U1.R11
GF | Kids Room | Light | 5A Lamp Socket | 1 |  |  | C2.U1.R12
GF | Kids Room | Light | 5A Lamp Socket | 1 |  |  | C2.U1.R13
GF | Stairs | Light | Tread Wash LEDs | 1 | Set of LEDs |  | C2.U1.R14
GF | Living Room | Power | Double Wall Socket | 9 | Includes 2 spurs to Truss power |  | C1.R3
GF | Living Room | Light | 5A Lamp Socket | 1 |  |  | C2.U1.R15
GF | Living Room | Power | Floor Socket | 1 |  |  | C1.R3
GF | Living Room | Light | Pendant | 1 |  |  | C2.U1.R16
GF | Living Room | Light | Pendant | 1 |  |  | C2.U2.R1
GF | Living Room | Light | Wall wash Uplighters | 2 |  |  | C2.U2.R2
GF | Living Room | Light | Wall wash Uplighters | 2 |  |  | C2.U2.R3
GF | Living Room | Light | 5A Lamp Socket | 1 |  |  | C2.U2.R4
GF | Living Room | Light | 5A Lamp Socket | 1 |  |  | C2.U2.R5
GF | Living Room | Light | 5A Lamp Socket | 1 |  |  | C2.U2.R6
GF | Living Room | Light | 5A Lamp Socket | 1 |  |  | C2.U2.R7
GF | Kitchen |  | Oven 1 | 1 |  | Switched Appliance | ?
GF | Kitchen |  | Oven 2 | 1 |  | Switched Appliance | ?
GF | Kitchen |  | Cooker Hood | 1 |  | Switched Appliance | ?
GF | Kitchen |  | Fridge | 1 |  | Switched Appliance | ?
GF | Kitchen |  | Wine Cooler | 1 | In Island | Switched Appliance | ?
GF | Kitchen |  | Gas Hob Power | 1 |  | Switched Appliance | ?
GF | Kitchen |  | Wall Sockets | 8 | Includes Island | Switched Appliance | ?
GF | Kitchen |  | Dish Washer | 1 | In Island | Switched Appliance | ?
GF | Patio |  | Gas Hob Power | 1
GF | Cottage roof |  | Electric Roof Window | 1
GF | Kids Room |  | wall socket | 4
GF | Sitting Room |  | wall socket | 5
GF | Closet |  | wall socket | 1
LGF | Services |  | Gas Boiler | 1 |  | Switched Applicance | 3
LGF | Services |  | MHRV Fans | 1 |  | Switched Applicance | 3
LGF | Services |  | Computer Rack | 1 |  | 2 way Gang | 13
LGF | Utility |  | Washing machine | 1
LGF | Utility |  | Dryer | 1
LGF | Ensuite |  | Shaver socket | 1
LGF | Main bathroom |  | Shaver socket | 1
LGF | BR1 |  | Wall sockets | 6
LGF | BR2 |  | Wall Sockets | 5
LGF | BR3 |  | Wall Sockets | 5
LGF | BR4 |  | Wall Sockets | 4
LGF | Workshop |  | Wall sockets | 4
LGF | Outside |  | Rainwater Pump | 1 |  | Outside Radial | 13
LGF | Outside |  | Sump Drain | 1 |  | Outside Radial | 13
LGF | Outside |  | Sewerage Pump | 1 |  | Outside Radial | 13
LGF | Outside |  | Garden Lights | 1 |  | Outside Radial | 13
LGF | Outside |  | Shed Power | 1 |  | Outside Radial | 13
Lights
| Services |  | Downlights | 2 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop North |  | Downlights | 4 | 8W LED Downlighters | Radial to DIN Mounted Relay
| UnderStairs |  | Downlights | 1 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop South |  | Downlights | 6 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Stair Led Washlights |  | LED Wash | 2 | 8W Strips

## Distribution
Enclosure | Identifier | Type | Current (A) | Usage | Notes
Consumer Unit 1 | C1.R1 | RCBO | 40 | Oven 1
Consumer Unit 1 | C1.R2 | RCBO | 40 | Oven 2
Consumer Unit 1 | C1.R3 | RCBO | 32 | GF Main Cottage Ring Main
Consumer Unit 1 | C1.R4 | RCBO | 6 | Light Power - LAN RELAY UNIT 1
Consumer Unit 1 | C1.R4 | RCBO | 6 | Light Power - LAN RELAY UNIT 2
IP-16R
Consumer Unit 2 | C2.U1.R1 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R2 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R3 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R4 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R5 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R6 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R7 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R8 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R9 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R10 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R11 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R12 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R13 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R14 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R15 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U1.R16 | NO RELAY | C1.R4
Consumer Unit 2 | C2.U2.R1 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R2 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R3 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R4 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R5 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R6 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R7 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R8 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R9 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R10 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R11 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R12 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R13 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R14 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R15 | NO RELAY | C1.R5
Consumer Unit 2 | C2.U2.R16 | NO RELAY | C1.R5

## Lights
Level | Location | Type | Quantity | Notes
LGF | Services | pendant light | 1
LGF | Utility | downlights | 5
LGF | Ensuite | downlights | 4 | 1 in shower (Zone 1)
LGF | Ensuite | spotlights | 2
LGF | Main bathroom | downlights | 5 | 1 in shower , 1 over bath(Zone 1)
LGF | Main bathroom | spotlights | 2
LGF | BR1 | downlights | 10
LGF | BR2 | downlights | 6
LGF | BR3 | downlights | 6
LGF | BR4 | downlights | 5
LGF | Hallways | downlights | 8
LGF | Hallways | wall lights | 2 to 3
LGF | Hallways | floor lights | 6 to 8
LGF | Staircase | tread lights | 8
LGF | Workshop | downlights | 8
LGF | Storage | downlights | 4
LGF | Outside | wall lights | 5
GF | Kitchen/Dining | downlights | 15
GF | Kitchen/Dining | pendants | 4
GF | Study | downlights | 5
GF | Closet | downlights | 2
GF | Water Closet | downlights | 2
GF | Water Closet | wall light | 1
GF | Kids Room | downlights | 8
GF | Living Room | downlights | 8
GF | Kids/Living | wall lights | 2
GF | Kids/Living | Pendants | 3
Lights
| Services | Downlights | 2 | 8W LED Downlighters
| Workshop North | Downlights | 4 | 8W LED Downlighters
| UnderStairs | Downlights | 1 | 8W LED Downlighters
| Workshop South | Downlights | 6 | 8W LED Downlighters
| Stair Led Washlights | LED Wash | 2 | 8W Strips