## Instructions
Sum - Pressure-Loss Worksheet Instructions
Step 1 | Select the Fuel Gas Type in cell K10. Note: Gas Types are based on the following Specific Gravity (also known as Relative Density): 0.60 - Natural Gas, 1.52 - Propane, 2.07 - Butane, 1.20 - Air-Gas. For additonal information on gas calorific values, read the comments in the note in cells L10 and M10.
Step 2 | Enter the minimum pressure allowed at the end of the installation pipe (cell “K11”). This is the system operating pressure minus the allowable pressure drop across the installation. For example, you are allowed a maximum of 1mbar pressure drop across a Natural Gas installation (between the outlet of the gas meter and to any connected appliance) so in this cell you would enter 20mbar (21mbar nominal operating pressure minus 1mbar allowable pressure drop).
Step 3 | Enter supply pressure (cell “K12”). For example 21mbar for Natural Gas, 37mbar for Propane and 28mbar for Butane.
Step 4 | Select supply pressure source for the run from the Column “B” dropdown list. Select “1” (Supply 1) for a meter (NG) or outlet of ECV/Cylinder regulator (LPG). Lettered selections (A, B, C…) refer to the pressure at the end of the pipe run. For example, if Pipe Run “D” is connected to the end of Pipe Run “C” (such as a branch off a tee), then select “C” as the "source" for pipe run "D" from the dropdown list.
Step 5 | Select "TracPipe" from the Pipe Type column (this table cannot be used for sizing any other type of pipe material) .
Step 6 | Enter “Run Length” and “Run Load” in Columns “D” and “E” respectively. The run length should be in metres (m) and is the equivalent length which should include any additional theoretical length added for bends, tees, AECV’s etc (see Table G7 of the TracPipe Design and Installation Specification (Current Edition) for relevant equivalent lengths). The load is the maximum heat input that pipe is expected to carry and must be inputted in cubic metres per hour (m3/hr).
Step 7 | Estimate the pipe size required for the pipe run being considered and enter this in Column “F” using the dropdown list. After the completion of the worksheet, note any “Pressures @ End of Run” in Column “F” that are shown in red. Red values represent a pressure drop in excess of the design limits previously inputted in Steps “2” and “3”. The pipe runs will need to be adjusted in size in order to bring the system within allowable design limits.
Step 8 | Continue adjusting pipe sizes until optimum piping sizes are obtained. This is done under the cell block which states DN.
STEP 1
STEP 2
STEP 3
STEP 6
STEP 4
STEP 7 & 8
STEP 5

## calcs (hidden)
INPUTS IN RED
OUTPUTS IN BLACK (Do not type over these cells)
CFH NG | BTU (1000 BTU/cu.ft.) | CMH NG | CFH LP 2520 BTU/cu.ft. | CMH LP
310 | 310000 | 8.7781 | 123.0159 | 3.4839
160 | 160000 | 4.5307 | 63.4921 | 1.7981
85 | 85000 | 2.4069 | 33.7302 | 0.95526
40 | 40000 | 1.1327 | 15.873 | 0.44953
45 | 45000 | 1.2742 | 17.8571 | 0.50572
150 | 150000 | 4.2475 | 59.5238 | 1.6857
75 | 75000 | 2.1237 | 29.7619 | 0.84287
"WC | psi | mbar |  | mbar | psi | "WC
0.5 | 0.018031 | 1.2432 |  | 1 | 0.014504 | 0.4022
1 | 0.036062 | 2.4864 |  | 1 | 0.014504 | 0.4022
5 | 0.18031 | 12.4318 |  | 1 | 0.014504 | 0.4022
6 | 0.21637 | 14.9181 |  | 1 | 0.014504 | 0.4022
7 | 0.25243 | 17.4045 |  | 1 | 0.014504 | 0.4022
14 | 0.50487 | 34.8089 |  | 1 | 0.014504 | 0.4022
28 | 1.0097 | 69.6178 |  | 1 | 0.014504 | 0.4022
56 | 2.0195 | 139.2356 |  | 1 | 0.014504 | 0.4022

## TracPipe Worksheet
Sum of Pressure Loss Worksheet | [18 empty] | flowrate = (delta p/a)^1/b
[19 empty] | a | b | Source
Tel: 01295 676 670 | [20 empty] | Metric a & b factors - m^3/hr and mbar/m
Project: | [8 empty] | Date: | [8 empty] | 3/8" | 0.23571 | 2.1432 | NEW Feb 2009 COMBO Curve
Contact/Tel: | [8 empty] | Drawn: | [8 empty] | 1/2" | 0.04823 | 2.0686 | NEW Feb 2009 COMBO Curve
Location: | [8 empty] | Checked: | [8 empty] | 3/4" | 0.0075952 | 2.0541 | NEW Feb 2009 COMBO Curve
Description: | [8 empty] | Sheet: | [8 empty] | 1" | 0.0026176 | 2.0398 | NEW Feb 2009 COMBO Curve
System Data and Requirements | [17 empty] | 1-1/4" | 0.00072949 | 2.0364 | NEW Dec 2006 Curve
[6 empty] | Fuel Gas Type |  |  | Nat Gas | **For Notes about gas calorific value, read comments here** |  |  |  | 1 |  |  |  | 1 1/2" | 0.00034436 | 1.9794 | Original Curve - Foster Miller
Sum - Of - Pressure loss calculations are based on pressure drop per metre data located in Annex G of the TracPipe Design and Installation Specification - UK Version. | [5 empty] | Supply Pressure - Gas Meter or LPG Vessel / ECV outlet (Supply 1 ) |  |  | 21 | mbar | [7 empty] | 2" | 5.634e-05 | 2.0108 | Original Curve - Foster Miller
[6 empty] | Minimum pressure at appliance inlet or appliance isolation valve (taking in to account maximum allowable design pressure drop) |  |  | 20 | mbar
Pipe Run | Source | Pipe Type | Run length | Run load | Pipe Size | Pressure drop per metre | Pressure drop over run | Pressure @ start of run | Pressure @ end of run | Run Description | Notes | [5 empty] | TracPipe | [5 empty] | BIP
|  |  | (m) | **Cubic Metres per Hour | DN | mbar / m | mbar | mbar | mbar |  | FLAT | 1 | 21 | TracPipe | BIP | 0.375 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 2 | 3 | 4
A | [7 empty] | - | - |  |  | A | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
B | [7 empty] | - | - |  |  | B | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
C | [7 empty] | - | - |  |  | C | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
D | [7 empty] | - | - |  |  | D | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
E | [7 empty] | - | - |  |  | E | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
F | [7 empty] | - | - |  |  | F | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
G | [7 empty] | - | - |  |  | G | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
H | [7 empty] | - | - |  |  | H | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
I | [7 empty] | - | - |  |  | I | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45
J | [7 empty] | - | - |  |  | J | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
K | [7 empty] | - | - |  |  | K | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
L | [7 empty] | - | - |  |  | L | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60
M | [7 empty] | - | - |  |  | M | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65
N | [7 empty] | - | - |  |  | N | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70
O | [7 empty] | - | - |  |  | O | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
P | [7 empty] | - | - |  |  | P | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
Q | [7 empty] | - | - |  |  | Q | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85
R | [7 empty] | - | - |  |  | R | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90
S | [7 empty] | - | - |  |  | S | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95
T | [7 empty] | - | - |  |  | T | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
U | [7 empty] | - | - |  |  | U | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105
V | [7 empty] | - | - |  |  | V | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110
W | [7 empty] | - | - |  |  | W | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
X | [7 empty] | - | - |  |  | X | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120
Y | [7 empty] | - | - |  |  | Y | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125
Z | [7 empty] | - | - |  |  | Z | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130
AA | [7 empty] | - | - |  |  | AA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135
AB | [7 empty] | - | - |  |  | AB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140
AC | [7 empty] | - | - |  |  | AC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145
AD | [7 empty] | - | - |  |  | AD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
AE | [7 empty] | - | - |  |  | AE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
AF | [7 empty] | - | - |  |  | AF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
AG | [7 empty] | - | - |  |  | AG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
AH | [7 empty] | - | - |  |  | AH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170
AI | [7 empty] | - | - |  |  | AI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175
AJ | [7 empty] | - | - |  |  | AJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
AK | [7 empty] | - | - |  |  | AK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185
AL | [7 empty] | - | - |  |  | AL | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190
AM | [7 empty] | - | - |  |  | AM | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195
AN | [7 empty] | - | - |  |  | AN | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200
AO | [7 empty] | - | - |  |  | AO | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205
AP | [7 empty] | - | - |  |  | AP | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210
AQ | [7 empty] | - | - |  |  | AQ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215
AR | [7 empty] | - | - |  |  | AR | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AS | [7 empty] | - | - |  |  | AS | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225
AT | [7 empty] | - | - |  |  | AT | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230
AU | [7 empty] | - | - |  |  | AU | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235
AV | [7 empty] | - | - |  |  | AV | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240
AW | [7 empty] | - | - |  |  | AW | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245
AX | [7 empty] | - | - |  |  | AX | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
AY | [7 empty] | - | - |  |  | AY | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255
AZ | [7 empty] | - | - |  |  | AZ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260
BA | [7 empty] | - | - |  |  | BA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265
BB | [7 empty] | - | - |  |  | BB | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270
BC | [7 empty] | - | - |  |  | BC | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 275
BD | [7 empty] | - | - |  |  | BD | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280
BE | [7 empty] | - | - |  |  | BE | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285
BF | [7 empty] | - | - |  |  | BF | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 290
BG | [7 empty] | - | - |  |  | BG | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 295
BH | [7 empty] | - | - |  |  | BH | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300
BI | [7 empty] | - | - |  |  | BI | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 305
BJ | [7 empty] | - | - |  |  | BJ | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310
BK | [7 empty] | - | - |  |  | BK | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315
Note: "Source" (Column B) must be used to establish the starting pressure for each pipe run. Pressure will come from the natural gas meter or propane/butane regulator (Supply 1), or from another pipe run in the system from Column A (runs A-BK). | [30 empty] | 320
325
330
335
340
345
350
355
360
365
370
375
380
385
390
395
400
405
410
415
420
425
430
435
440
445
450
455
460
465
470
475
480
485
490
495
500
505
510
515
520
525
530
535
540
545
550
555
560
565
570
575
580
585
590
595
600
605
610
615
620
625
630
635
640
645
650
655
660
665
670
675
680
685
690
695
700
705
710
715
720
725
730
735
740
745
750
755
760
765
770
775
780
785
790
795
800
805
810
815
[8 empty] | 0 | [22 empty] | 820
825
830
835
840
845
850
855
860
865
870
875
880
885
890
895
900
905
910
915
920
925
930
935
940
945
950
955
960
965
970
975
980
985
990
995
1000
1005
1010
1015
1020
1025
1030
1035
1040
1045
1050
1055
1060
1065
1070
1075
1080
1085
1090
1095
1100
1105
1110
1115
1120
1125
1130
1135
1140
1145
1150
1155
1160
1165
1170
1175
1180
1185
1190
1195
1200
1205
1210
1215
1220
1225
1230
1235
1240
1245
1250
1255
1260
1265
1270
1275
1280
1285
1290
1295
1300
1305
1310
1315
1320
1325
1330
1335
1340
1345
1350
1355
1360
1365
1370
1375
1380
1385
1390
1395
1400
1405
1410
1415
1420
1425
1430
1435
1440
1445
1450
1455
1460
1465
1470
1475
1480
1485
1490
1495
1500
1505
1510
1515
1520
1525
1530
1535
1540
1545
1550
1555
1560
1565
1570
1575
1580
1585
1590
1595
1600
1605
1610
1615
1620
1625
1630
1635
1640
1645
1650
1655
1660
1665
1670
1675
1680
1685
1690
1695
1700
1705
1710
1715
1720
1725
1730
1735
1740
1745
1750
1755
1760
1765
1770
1775
1780
1785
1790
1795
1800
1805
1810
1815
1820
1825
1830
1835
1840
1845
1850
1855
1860
1865
1870
1875
1880
1885
1890
1895
1900
1905
1910
1915
1920
1925
1930
1935
1940
1945
1950
1955
1960
1965
1970
1975
1980
1985
1990
1995
2000
FGP-570UK Rev 2.0 METRIC (09/15)
Note on K10: Select Gas Type. Specific Gravities (Relative Densities) used are: Nat Gas 0.60 Propane 1.52 Butane 2.07 Air-Gas Mix 1.20
Note on L10: ** Gas Flow (run load) must be entered in cubic metres per hour (m3/hr) of the specific gas chosen. Pressure drop (mbar) vs load calculations are based on the following Gas Specific Gravities (Relative Densities): Natural Gas 0.60 Propane Gas 1.52 Butane 2.07 Air-Gas 1.20 Note: Calorific value of the gas has not been factored in the load and pressure drop calculations. To obtain the load based on energy value, one must mutliply by the heat content of the gas used. Typical Gross Calorific Values (in MJ per cubic metre) are as follows: Natural Gas 38.76 Propane Gas 93.10 Butane 121.80 Jersey (Air/Gas) 25.46 Guernsey (Air/Gas) 27.21
Note on K11: Determine supply pressure from meter or vessel/ECV: Air/Gas Mix = 14mbar Natural Gas = 21mbar Butane = 28mbar Propane = 37mbar
Note on K12: The minimum allowable pressure at the appliance inlet or appliance isolation valve is based upon the maximum allowable design pressure drop across the installation which are: Natural gas = 1mbar Propane = 2mbar Butane = 2mbar Air/Gas Mix = 2mbar
Note on B14: Use this column to specify starting pressure for each run. Pressure will come from meter (Supply 1), regulator (Supply 2) or another run (Column B).
Note on D14: Select actual run length only, not total developed length (TDL).
Note on E14: Value must be entered in cubic metres per hour of the GAS used (must convert using calorific value).
Note on K14: This will be the pressure at the end of the run. For medium pressure systems, delivery pressure to regulator inlet should be 69 mbar.