## Overview
Version | Date | Author | Notes
1 | 2018-08-05 | DJB | Initial Cut
2 | 2018-08-24 | DJB | Added lighting
3 | 2018-10-09 | DJB | Mapped lights to Relay units, now complete
General Notes
No light switches necessary - these will all be smart switches powered over POE using CAT 6 - be fitted by myself.
The lights will all be connected back to the services room, so there will be a lot of radial circuits (but no light switches)
All sockets to be the deeper types so that they can accommodate flush mount sockets in future.
Supply and fit all cabling, and dual wall sockets, recessed floor trays, 5A sockets, consumer unit, RCBO. We will source and provide all the lights.
I've drawn out 4 ring mains, but I'm not sure if this is necessary
For the consumer unit I would like 1 consumer unit for the RCBO's, and 2 other cabinets to house the relay units and associated electronics.
I'd like the ones for the relays to have a clear window to see the status leds, I was thinking along the lines of a mistral unit by ABB but I do not know if it is non-combustable, (or if it has to be). I need a lot of din rail space, and the steel ones are very very expensive
https://uk.rs-online.com/web/p/consumer-units/8111919/
The relay units are 12 din units wide (approx 210mm) but I need room for power supplies, etc.
Please can you also quote for a fire alarm - this has to be wired and I am interested in finding the most attractive or small ones we can.

## PowerAndLight
Level | Location | Type | Sub Type | Number Of | Notes | Detail | Connects to |  | General NOTES
GF | Entrance | Power | Double Wall Socket | 1 |  | 35mm Recess | C1.R3 | GF Main Cottage Ring Main | deep sockets everywhere
GF | Entrance | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R1 | Radial to Relay | NO LIGHT SWITCHES (ALL CONTROLLED BY RELAYS)
GF | Entrance External | Light | Updown Light Wall Mounted | 1 | Radial to Relay |  | C2.U1.R2 | Radial to Relay
GF | Closet | Power | Double Wall Socket | 1 |  |  | C1.R3 | GF Main Cottage Ring Main
GF | Closet | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R3 | Radial to Relay
GF | W.C | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R4 | Radial to Relay
GF | Kids Room | Power | Double Wall Socket | 9 | Includes 2 spurs to Truss power |  | C1.R3 | GF Main Cottage Ring Main
GF | Kids Room | Light | 5A Lamp Socket | 1 | Radial to Relay, In Floor recess |  | C2.U1.R5 | Radial to Relay
GF | Kids Room | Power | Floor Socket | 1 | Dual Socket in Floor recess |  | C1.R3 | GF Main Cottage Ring Main
GF | Kids Room | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R6 | Radial to Relay
GF | Kids Room | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R7 | Radial to Relay
GF | Kids Room | Light | Wall wash Uplighters | 2 | Radial to Relay, Not decided exactly which models to use here |  | C2.U1.R8 | Radial to Relay
GF | Kids Room | Light | Wall wash Uplighters | 2 | Radial to Relay, Not decided exactly which models to use here |  | C2.U1.R9 | Radial to Relay
GF | Kids Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U1.R10 | Radial to Relay
GF | Kids Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U1.R11 | Radial to Relay
GF | Kids Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U1.R12 | Radial to Relay
GF | Kids Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U1.R13 | Radial to Relay
GF | Stairs | Light | Tread Wash LEDs | 1 | Radial to Relay, Set of LEDs |  | C2.U1.R14 | Radial to Relay
GF | Living Room | Power | Double Wall Socket | 10 | Includes 2 spurs to Truss power and 1 spur to wall mounted TV |  | C1.R3 | GF Main Cottage Ring Main
GF | Living Room | Power | Single Spur to Electric Velux | 1 | Spur from socket on ring |  | C1.R3 | GF Main Cottage Ring Main
GF | Living Room | Light | 5A Lamp Socket | 1 | Radial to Relay, In Floor recess |  | C2.U1.R15 | Radial to Relay
GF | Living Room | Power | Floor Socket | 1 |  |  | C1.R3 | GF Main Cottage Ring Main
GF | Living Room | Light | Pendant | 1 | Radial to Relay |  | C2.U1.R16 | Radial to Relay
GF | Living Room | Light | Pendant | 1 | Radial to Relay |  | C2.U2.R1 | Radial to Relay
GF | Living Room | Light | Wall wash Uplighters | 2 | Radial to Relay |  | C2.U2.R2 | Radial to Relay
GF | Living Room | Light | Wall wash Uplighters | 2 | Radial to Relay |  | C2.U2.R3 | Radial to Relay
GF | Living Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U2.R4 | Radial to Relay
GF | Living Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U2.R5 | Radial to Relay
GF | Living Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U2.R6 | Radial to Relay
GF | Living Room | Light | 5A Lamp Socket | 1 | Radial to Relay |  | C2.U2.R7 | Radial to Relay
GF | Kitchen | Power | Oven 1 | 1 | Put appliance switch inside cupboard |  | C1.R1 | Radial to RCBO
GF | Kitchen | Power | Oven 2 | 1 | Put appliance switch inside cupboard |  | C1.R2 | Radial to RCBO
GF | Kitchen | Power | Cooker Hood | 1 | Put appliance switch inside cupboard (spur off ring?) |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Power | Fridge | 1 | Put appliance switch inside cupboard (spur off ring?) |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Power | Wine Cooler | 1 | In Island |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Power | Gas Hob Power | 1 |  |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Power | Wall Sockets | 8 | Includes Island, and spur to wall mounted TV |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Power | Dish Washer | 1 | In Island |  | C1.R4 | GF Kitchen Study Ring Main
GF | Kitchen | Light | Island Pendant | 1 |  |  | C2.U2.R8 | Radial to Relay
GF | Kitchen | Light | Island Spotlight cluster | 1 |  |  | C2.U2.R9 | Radial to Relay
GF | Kitchen | Light | Worktop lighting | 1 | Under the high shelf units, set of led lights |  | C2.U2.R10 | Radial to Relay
GF | Kitchen | Light | Kicker plate led lights | 1 |  |  | C2.U2.R11 | Radial to Relay
GF | Kitchen | Light | Wall wash uplighters | 2 |  |  | C2.U2.R12 | Radial to Relay
GF | Kitchen | Light | Wall wash uplighters | 2 |  |  | C2.U2.R13 | Radial to Relay
GF | Kitchen | Light | Center Pendant | 1 |  |  | C2.U2.R14 | Radial to Relay
GF | Kitchen | Light | Center Spotlight Cluster | 1 |  |  | C2.U2.R15 | Radial to Relay
GF | Kitchen | Light | LED Step light | 1 | Between kitchen and kidsroom |  | C2.U2.R16 | Radial to Relay
GF | Kitchen | Light | LED Step light | 1 | Between kitchen and main up step |  | C2.U3.R1 | Radial to Relay
GF | Kitchen | Light | 5A Lamp Socket | 1 |  |  | C2.U3.R2 | Radial to Relay
GF | Kitchen | Light | 5A Lamp Socket | 1 |  |  | C2.U3.R3 | Radial to Relay
GF | Study | Power | Double Wall Socket | 4 |  |  | C1.R4 | GF Kitchen Study Ring Main
GF | Study | Light | Pendant | 1 |  |  | C2.U3.R4 | Radial to Relay
GF | Study | Light | Spotlight cluster | 1 |  |  | C2.U3.R5 | Radial to Relay
GF | Study | Light | 5A Lamp Socket | 1 |  |  | C2.U3.R6 | Radial to Relay
GF | Deck | Power | External Double Wall Socket | 2 | External (off of ring or separate RCBO?) |  | C1.R4 | GF Kitchen Study Ring Main
GF | Deck | Light | Parapet Wall Light | 4 | 1 radial connection to relay |  | C2.U3.R7 | Radial to Relay
GF | Deck | Light | External Door light | 1 | 1 radial connection to relay |  | C2.U3.R8 | Radial to Relay
LGF | Services | Power | Gas Boiler | 1 | <3 amps |  | C1.R5 | LGF Ring Ring Main A
LGF | Services | Power | MHRV Fans | 1 | <3 amps |  | C1.R5 | LGF Ring Ring Main A
LGF | Services | Power | Sockets | 4 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Services | Power | Smoke Alarm | 1 |  |  | C1.R6 | Radial to RCBO
LGF | Services | Power | Rainwater pump | 1 |  |  | C1.R11 | Radial to RCBO
LGF | Services | Power | Sewerage Pump | 1 |  |  | C1.R8 | Radial to RCBO
LGF | Services | Power | Shed/Garage Power | 1 |  |  | C1.R9 | Radial to RCBO
LGF | Services | Power | Garden Lights | 1 |  |  | C1.R10 | Radial to RCBO
LGF | Services | Light | Pendant | 1 | Consider battery backed emergency light |  | C2.U3.R9 | Radial to Relay
LGF | Services | Power | Underfloor heating pump | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Utility | Power | Washing machine | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Utility | Power | Dryer | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Utility | Power | Sockets | 4 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Utility | Light | Downlights | 5 | LED slimline lights (8W) |  | C2.U3.R10 | Radial to Relay
LGF | Utility | Light | Kicker Plate LEDS | 1 |  |  | C2.U3.R11 | Radial to Relay
LGF | Ensuite | Power | Shaver socket | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Ensuite | Light | downlights | 4 | 1 in shower (Zone 1) |  | C2.U3.R12 | Radial to Relay
LGF | Ensuite | Light | spotlights | 2 |  |  | C2.U3.R13 | Radial to Relay
LGF | Main bathroom | Power | Shaver socket | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Main bathroom | Power | Heated Mirror | 1 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Main bathroom | Light | downlights | 5 | 1 in shower , 1 over bath(Zone 1) |  | C2.U3.R14 | Radial to Relay
LGF | Main bathroom | Light | spotlights | 2 |  |  | C2.U3.R15 | Radial to Relay
LGF | Workshop | Power | Wall sockets | 6 |  |  | C1.R5 | LGF Ring Ring Main A
LGF | Workshop Noth | Light | Downlights | 4 | 8W LED Downlighters |  | C2.U3.R16 | Radial to Relay
LGF | Workshop Understairs | Light | Downlights | 1 | 8W LED Downlighters |  | C3.U4.R1 | Radial to Relay
LGF | Workshop South | Light | Downlights | 6 | 8W LED Downlighters |  | C3.U4.R2 | Radial to Relay
LGF | Workshop South | Light | 5A Lamp Socket | 1 |  |  | C3.U4.R3 | Radial to Relay
LGF | Workshop South | Light | 5A Lamp Socket | 1 |  |  | C3.U4.R4 | Radial to Relay
LGF | Main Bathroom Hallway | Power | Double Wall Socket | 2 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | Main Bathroom Hallway | Light | Downlights | 4 | 8W LED Downlighters |  | C3.U4.R5 | Radial to Relay
LGF | Main Bathroom Hallway | Light | Low level washers | 1 | LEDs |  | C3.U4.R6 | Radial to Relay
LGF | Main Hallway | Power | Double Wall Socket | 2 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | Main Hallway | Light | Downlights | 8 | 8W LED Downlighters |  | C3.U4.R7 | Radial to Relay
LGF | Main Hallway | Light | Low level washers | 1 | LED |  | C3.U4.R8 | Radial to Relay
LGF | Main Hallway | Light | Ceiling washers | 1 | LED |  | C3.U4.R9 | Radial to Relay
LGF | Door Outside | Light | Outside Light | 1 |  |  | C3.U4.R10 | Radial to Relay
LGF | Door Outside | Power | External socket | 1 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | BR1 | Power | Wall sockets | 6 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | BR1 | Light | downlights | 6 |  |  | C3.U4.R11 | Radial to Relay
LGF | BR1 | Light | downlights | 4 |  |  | C3.U4.R12 | Radial to Relay
LGF | BR1 | Light | 5A Lamp Socket | 1 |  |  | C3.U4.R13 | Radial to Relay
LGF | BR1 | Light | 5A Lamp Socket | 1 |  |  | C3.U4.R14 | Radial to Relay
LGF | BR2 | Power | Wall Sockets | 5 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | BR2 | Light | downlights | 6 |  |  | C3.U4.R15 | Radial to Relay
LGF | BR2 | Light | 5A Lamp Socket | 1 |  |  | C3.U4.R16 | Radial to Relay
LGF | BR2 | Light | 5A Lamp Socket | 1 |  |  | C3.U5.R1 | Radial to Relay
LGF | BR3 | Power | Wall Sockets | 5 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | BR3 | Light | downlights | 6 |  |  | C3.U5.R2 | Radial to Relay
LGF | BR3 | Light | 5A Lamp Socket | 1 |  |  | C3.U5.R3 | Radial to Relay
LGF | BR3 | Light | 5A Lamp Socket | 1 |  |  | C3.U5.R4 | Radial to Relay
LGF | BR4 | Power | Wall Sockets | 4 |  |  | C1.R6 | LGF Ring Ring Main B
LGF | BR4 | Light | downlights | 5 |  |  | C3.U5.R5 | Radial to Relay
LGF | BR4 | Light | 5A Lamp Socket | 1 |  |  | C3.U5.R6 | Radial to Relay
LGF | External Light | Light | Security Light | 1 |  |  | C3.U5.R7 | Radial to Relay
LGF | External Light | Light | Security Light | 1 |  |  | C3.U5.R8 | Radial to Relay
LGF | External Light | Light | Security Light | 1 |  |  | C3.U5.R9 | Radial to Relay
LGF | External Light | Light | Security Light | 1 |  |  | C3.U5.R10 | Radial to Relay
GF | External Light | Light | Security Light | 1 |  |  | C3.U5.R11 | Radial to Relay
GF | External Light | Light | Security Light | 1 |  |  | C3.U5.R12 | Radial to Relay
Lights
| Services |  | Downlights | 2 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop North |  | Downlights | 4 | 8W LED Downlighters | Radial to DIN Mounted Relay
| UnderStairs |  | Downlights | 1 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop South |  | Downlights | 6 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Stair Led Washlights |  | LED Wash | 2 | 8W Strips

## Distribution
Consumer Unit 1 - eg 21 way metal
Enclosure | Identifier | Type | Current (A) | Usage
Consumer Unit 1 | C1.R1 | RCBO | 40 | Oven 1
Consumer Unit 1 | C1.R2 | RCBO | 40 | Oven 2
Consumer Unit 1 | C1.R3 | RCBO | 32 | GF Main Cottage Ring Main
Consumer Unit 1 | C1.R4 | RCBO | 32 | GF Kitchen Study Ring Main
Consumer Unit 1 | C1.R5 | RCBO | 32 | LGF Ring Ring Main A
Consumer Unit 1 | C1.R6 | RCBO | 32 | LGF Ring Ring Main B
Consumer Unit 1 | C1.R7 | RCBO | 6 | Smoke Alarms
Consumer Unit 1 | C1.R8 | RCBO | 16 | Sewage Pump
Consumer Unit 1 | C1.R9 | RCBO | 32 | Shed/Garage Power
Consumer Unit 1 | C1.R10 | RCBO | 6 | Garden Lights
Consumer Unit 1 | C1.R11 | RCBO | 16 | Rainwater pump
Consumer Unit 1 | C1.R12 | RCBO | 6 | Light Power - LAN RELAY UNIT 1
Consumer Unit 1 | C1.R13 | RCBO | 6 | Light Power - LAN RELAY UNIT 2
Consumer Unit 1 | C1.R14 | RCBO | 6 | Light Power - LAN RELAY UNIT 3
Consumer Unit 1 | C1.R15 | RCBO | 6 | Light Power - LAN RELAY UNIT 4
Consumer Unit 1 | C1.R16 | RCBO | 6 | Light Power - LAN RELAY UNIT 5
Consumer Unit 1 | C1.R17 | RCBO | 6 | UFH Valve Power - LAN RELAY UNIT 5
Consumer Unit 1 | C1.R18 | RCBO | 6 | UFH Valve Power - LAN RELAY UNIT 6
Consumer Unit 2 - 72 way ABB Mistral clear window
Enclosure | Identifier | Type | Usage | Power Feed
Consumer Unit 2 | C3.U1.R1 | NO RELAY | Lighting | C1.R12 | IP-16R
Consumer Unit 2 | C3.U1.R2 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R3 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R4 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R5 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R6 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R7 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R8 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R9 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R10 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R11 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R12 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R13 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R14 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R15 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C3.U1.R16 | NO RELAY | Lighting | C1.R12
Consumer Unit 2 | C2.U2.R1 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R2 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R3 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R4 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R5 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R6 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R7 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R8 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R9 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R10 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R11 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R12 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R13 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R14 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R15 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U2.R16 | NO RELAY | Lighting | C1.R13
Consumer Unit 2 | C2.U3.R1 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R2 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R3 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R4 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R5 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R6 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R7 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R8 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R9 | NC RELAY | Lighting | C1.R14 | This is connected to the pendant light in the services room, if the server crashes, then I want the relay to be normally closed so the light turns on.
Consumer Unit 2 | C2.U3.R10 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R11 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R12 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R13 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R14 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R15 | NO RELAY | Lighting | C1.R14
Consumer Unit 2 | C2.U3.R16 | NO RELAY | Lighting | C1.R14
Consumer Unit 3 - 72 way ABB Mistral clear window
Enclosure | Identifier | Type | Usage | Power Feed
Consumer Unit 3 | C3.U4.R1 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R2 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R3 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R4 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R5 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R6 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R7 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R8 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R9 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R10 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R11 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R12 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R13 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R14 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R15 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U4.R16 | NO RELAY | Lighting | C1.R15
Consumer Unit 3 | C3.U5.R1 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R2 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R3 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R4 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R5 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R6 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R7 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R8 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R9 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R10 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R11 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R12 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R13 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R14 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R15 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U5.R16 | NO RELAY | Lighting | C1.R16
Consumer Unit 3 | C3.U6.R1 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R2 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R3 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R4 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R5 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R6 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R7 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R8 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R9 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R10 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R11 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R12 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R13 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R14 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R15 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U6.R16 | NO RELAY | Underfloor Heating Valve Control | C1.R17
Consumer Unit 3 | C3.U7.R1 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R2 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R3 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R4 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R5 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R6 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R7 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R8 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R9 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R10 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R11 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R12 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R13 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R14 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R15 | NO RELAY | Underfloor Heating Valve Control | C1.R18
Consumer Unit 3 | C3.U7.R16 | NO RELAY | Underfloor Heating Valve Control | C1.R18

## Scratch
Level | Location | Type | Quantity | Notes