## Power
Level | Location | Outlet | Number Of | Notes | Type | Max Current (A)
LGF | Services | Gas Boiler | 1 |  | Switched Applicance | 3
LGF | Services | MHRV Fans | 1 |  | Switched Applicance | 3
LGF | Services | Computer Rack | 1 |  | 2 way Gang | 13
LGF | Utility | Washing machine | 1
LGF | Utility | Dryer | 1
LGF | Ensuite | Shaver socket | 1
LGF | Main bathroom | Shaver socket | 1
LGF | BR1 | Wall sockets | 6
LGF | BR2 | Wall Sockets | 5
LGF | BR3 | Wall Sockets | 5
LGF | BR4 | Wall Sockets | 4
LGF | Workshop | Wall sockets | 4
LGF | Outside | Rainwater Pump | 1 |  | Outside Radial | 13
LGF | Outside | Sump Drain | 1 |  | Outside Radial | 13
LGF | Outside | Sewerage Pump | 1 |  | Outside Radial | 13
LGF | Outside | Garden Lights | 1 |  | Outside Radial | 13
LGF | Outside | Shed Power | 1 |  | Outside Radial | 13
GF | Kitchen | Oven 1 | 1 |  | Switched Appliance | ?
GF | Kitchen | Oven 2 | 1 |  | Switched Appliance | ?
GF | Kitchen | Cooker Hood | 1 |  | Switched Appliance | ?
GF | Kitchen | Fridge | 1 |  | Switched Appliance | ?
GF | Kitchen | Wine Cooler | 1 | In Island | Switched Appliance | ?
GF | Kitchen | Gas Hob Power | 1 |  | Switched Appliance | ?
GF | Kitchen | Wall Sockets | 8 | Includes Island | Switched Appliance | ?
GF | Kitchen | Dish Washer | 1 | In Island | Switched Appliance | ?
GF | Patio | Gas Hob Power | 1
GF | Cottage roof | Electric Roof Window | 1
GF | Kids Room | wall socket | 4
GF | Sitting Room | wall socket | 5
GF | Closet | wall socket | 1
Lights
| Services | Downlights | 2 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop North | Downlights | 4 | 8W LED Downlighters | Radial to DIN Mounted Relay
| UnderStairs | Downlights | 1 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Workshop South | Downlights | 6 | 8W LED Downlighters | Radial to DIN Mounted Relay
| Stair Led Washlights | LED Wash | 2 | 8W Strips

## Lights
Level | Location | Type | Quantity | Notes
LGF | Services | pendant light | 1
LGF | Utility | downlights | 5
LGF | Ensuite | downlights | 4 | 1 in shower (Zone 1)
LGF | Ensuite | spotlights | 2
LGF | Main bathroom | downlights | 5 | 1 in shower , 1 over bath(Zone 1)
LGF | Main bathroom | spotlights | 2
LGF | BR1 | downlights | 10
LGF | BR2 | downlights | 6
LGF | BR3 | downlights | 6
LGF | BR4 | downlights | 5
LGF | Hallways | downlights | 8
LGF | Hallways | wall lights | 2 to 3
LGF | Hallways | floor lights | 6 to 8
LGF | Staircase | tread lights | 8
LGF | Workshop | downlights | 8
LGF | Storage | downlights | 4
LGF | Outside | wall lights | 5
GF | Kitchen/Dining | downlights | 15
GF | Kitchen/Dining | pendants | 4
GF | Study | downlights | 5
GF | Front Entrance | downlights | 2
GF | Front Entrance | pendants | 1
GF | Closet | downlights | 2
GF | Water Closet | downlights | 2
GF | Water Closet | wall light | 1
GF | Kids Room | downlights | 8
GF | Living Room | downlights | 8
GF | Kids/Living | wall lights | 2
GF | Kids/Living | Pendants | 3
Lights
| Services | Downlights | 2 | 8W LED Downlighters
| Workshop North | Downlights | 4 | 8W LED Downlighters
| UnderStairs | Downlights | 1 | 8W LED Downlighters
| Workshop South | Downlights | 6 | 8W LED Downlighters
| Stair Led Washlights | LED Wash | 2 | 8W Strips